Features:

- Solid brass body with an aged brass finish

- Solid brass knuckle with dial adjustment for easy adjustments

- Brass shroud with a clear glass convex lens, with turn and lock fitting

- Spring loaded ceramic bi-pin socket with dual contact and lamp clips

- Industry first double wire lead, 16 awg (UL listed), brown. Includes a 25’ lead, pre-connected to the fixture and an 18” lead, pre-stripped for easy wire connection.

- Plastic ground stake, attached to the fixture (8.5 in; 21.6 cm length) with a commercial grade brass stake collar

- Lifetime warranty on fixture housing

- UL Listed to U.S. and Canadian safety standards for low voltage landscape luminaries (UL 1838)