Features:

- Aged brass debris guard with clear glass lens

- ABS housing can, black, angled on one end

- Spade connectors for LPAR36 connection

- Lamp retainer ring, stainless steel

- Industry First, double wire lead pre-connected to the fixture, 16 awg (UL listed), brown

- 25 foot wire lead, pre-stripped for easy wire connection

- 18 inch wire lead, LED connection ready

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark