Features:

- Solid brass body with an aged brass finish

- Solid brass knuckle with dial adjustment for easy adjustments

- Brass shroud with a clear glass convex lens and o-ring gasket

- Spring loaded ceramic bi-pin socket with dual contact and lamp clips

- 25 Foot wire lead, 16 awg (UL Listed), brown, Pre-connected to the fixture, Pre-stripped for easy wire connection

- Plastic ground stake, attached to the fixture (8.5 in; 21.6 cm length)

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark