Features:

- Brass fixture body, aged brass finish

- Brass base plate with adjustable mounting guides

- Solid brass face plate with securing hex screws

- Frosted lens

- Spring loaded ceramic bi-pin socket with dual contact

- 25’ Foot wire lead, 16 awg (UL listed), brown, Pre-connected to the fixture, Pre-stripped for easy wire connection

- Allen wrench tool to tighten hex screws, mounting hardware screws, two extra adjusting hex face plate screws

- Mounting template

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark