Features:

- Two brass connectors with set screws to provide a tight, secure connection

- Two pre-greased plastic lug caps for easy and clean application & provides protection from nature’s elements for your connection points

- PVC tube for protection from ground erosion

- ABS cap labeled “Low Voltage Lighting Connection