Features:

- Brass fixture body, aged brass finish

- Solid brass fixture base with swivel mount for adjusting the direction of the light beam

- Solid brass shroud with water tight, sealed clear lens, fixes to base with four stainless steel screws

- Spring loaded ceramic bi-pin socket with dual contact and lamp clips

- 25’ Foot underwater wire lead, Pre-connected to the fixture

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark