Features:

- Brass fixture body, aged brass finish

- Solid brass knuckle with dial adjustment

- Brass shroud with rubber gasket

- Spring loaded ceramic bi-pin socket with dual contact and lamp clips

- 25’ Foot wire lead, 16 awg (UL listed), brown, Pre-connected to the fixture, Pre-stripped for easy wire connection

- Aged brass round mounting base

- Mounting screws

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark