Features:

- Adjustable brass stem, 17”-27” length, aged brass finish

- Solid brass area light hat

- Spring loaded ceramic bi-pin socket with dual contact

- Clear glass lens

- 25’ Foot wire lead, 16 awg (UL listed), brown, Pre-connected to the fixture, Pre-stripped for easy wire connection

- Solid brass stake, attached to the fixture with a set screw (8.5 in; 21.6 cm length)

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark