Features:

- Solid brass body with an aged brass finish

- Solid brass knuckle with dial adjustment for easy adjustments

- Brass shroud with a clear glass lens and turn and lock fitting

- Spring loaded ceramic bi-pin socket with dual contact and lamp clips

- Industry First, double wire lead pre-connected to the fixture, 16 awg (UL listed), brown

- 25 foot wire lead, pre-stripped for easy wire connection

- 18 inch wire lead, LED connection ready

- Plastic ground stake, attached to the fixture (8.5 in; 21.6 cm length)

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark