Features:

- Brass fixture body, aged brass finish

- Clear convex lens

- Solid brass fixture base with extra potting

- Solid brass faceplate with stainless steel screws

- Spring loaded ceramic bi-pin socket with dual contact and lamp clips

- Industry First, double wire lead pre-connected to the fixture, 16 awg (UL listed), brown

- 25 foot wire lead, pre-stripped for easy wire connection

- 18 inch wire lead, LED connection ready

- Lifetime warranty on fixture housing

- Complies with the requirements of UL-1838 and CAN/CSA-C22.2 No. 250.7. Identified with the ETL and cETL Listed Mark